ELEKTROTEHNIČKI FAKULTET SARAJEVO

ODSJEK ZA RAČUNARSTVO i INFORMATIKU

SPECIJALNA POGLAVLJA SOFTVERSKIH SISTEMA

Diplomski rad :

Razvoj i implementacija  softverskog drajvera za DDE mrežnu komunikaciju putem TCP/IP  protokola

Development, code  implementation  and testing of the software driver for DDE2DDE applications   data exchange over TCP/IP networks.

Cilj diplomskog rada:

Savremeni  sistemi nadzora i vodjenja kompleksnih proizvodno-poslovnih sistema uključuju, pored SCADA/HMI sistema za vodjenje, nadzor i upravljanje tehnološkim dijelom procesa, takodjer I sisteme namjenjene planiranju, organizaciji i praćenju proizvodnog procesa kao sto su MES, MIS, ERP sistemi itd.

Često, u ovakvim višeslojnim distribuiranim sistemima je potrebno povezivanje i razmjena podataka sa aplikacijama koje su DDE omogućene kao što je Microsoft Excel i većina HMI softverskih paketa.

Prenos i razmjena podataka sa DDE protokolom je moguć i u distribuiranoj arhitekturi koristeći MS NETDDE protokol koji je vrlo komlikovan i moguć samo u okviru homogenih lokalnih mreža koristeći ddeshare i domene medjsobnog povjerenja.

U diplomskom radu treba  razviti, implementirati u softveru i testirati drajver koji će omogućiti razmjenu podataka i poruka izmedju DDE aplikacija u mrežnom okruženju koristeći TCP/IP protokol kao transportni medjusloj.

Diplomski rad treba da ukljući i implementaciju DDE klijent-server mrežnih razmjena podataka sa dinamički konfigurabilnim tagovima što se tiče broja i tipova podataka koji se razmjenjuju.

Na kraju rada, na primjeru dvaju demonstracionih aplikacija realiziranih u Indusoft IWS HMI softverskom paketu i MS Excelu rezidentnih na različitim nodovima Internet mreže, treba demonstrirati mogućnosti i pouzdanost u radu razvijenog drajvera.

Abstract

Modern  supervisory monitoring and control systems  for complex  production/business   management are including, beside  SCADA/HMI system for process management and control in real-time, also systems  aimed at  planning, organization and follow-up of production execution of  manufacturing process as MES, MIS, ERP and so forth.

Frequently, in these multilayer distributed systems there is the need to interconnect and enable data exchange between applications that are DDE conversant as is Microsoft Excel and majority of HMI software packages.

DDE data exchange is possible in distributed architecture using MS NETDDE protocol which is rather complicated to setup and is only possible within homogeneous local network using ddeshare and trusted domains.

The candidate has, within his diploma thesis, to develop, implement and test driver that shall enable data exchange and messages between DDE enabled applications in network environment using TCP/IP protocol as transport vehicle in-between.

Diploma thesis has to implement DDE data exchange over the heterogeneous networks with dynamically configurable data tags (items), as far as the number and data types of these tags are concerned.

For the completion, one test application has to be developed based on Indusoft HMI software suite and MS Excel to demonstrate the capabilities and reliability of the developed driver.