ELEKTROTEHNIČKI FAKULTET SARAJEVO

ODSJEK ZA RAČUNARSTVO i INFORMATIKU

SPECIJALNA POGLAVLJA SOFTVERSKIH SISTEMA

Diplomski rad :

Razvoj,  implementacija i testiranje   OPC XML DA servera  korištenjem Iconics OPCToolworx  softverskog alata za real-time razmjenu podataka u SCADA/HMI sistemima

Development, code implementation and testing of the OPC XML DA servers using Iconics OPCToolworx software package, for real-time data exchange in SCADA/HMI systems.

Cilj diplomskog rada:

Savremeni  sistemi nadzora i vodjenja kompleksnih proizvodno-poslovnih sistema uključuju, pored SCADA/HMI sistema za vodjenje, nadzor i upravljanje tehnološkim dijelom procesa, takodjer I sisteme namjenjene planiranju, organizaciji i praćenju proizvodnog procesa kao sto su MES, MIS, ERP sistemi itd.

Često, u ovakvim višeslojnim distribuiranim sistemima je potrebno povezivanje i razmjena podataka u realnom vremenu  sa aplikacijama koje  se ne izvršavaju na Windows platformama tako da se OPC kbazirani komunikacini protokoli ne mogu koristiti.

Da bi se omogućila i OPC bazirana razmjena podataka i izmedju aplikacija na različitim platformama operativnih sistema kao i razmjena kod Internet distribuiranih aplikacija, OPC Fondacija je specificirala novi tip OPC protokola baziran na web servisima za razmjenu tekučih vrijednosti podataka, uvodeći OPC XML DA tip OPC servera i klijenta.

U diplomskom radu treba  razviti, implementirati u softveru i testirati OPC XML server koristeči  softverske alate OPC Toolworx  Iconicsa , i testirati ga u mrežnom okruženju u razmjeni podataka izmedju distribuiranih OPC servera i klijenata.

Na kraju rada, na primjeru   demonstracione  aplikacije realizirane u Genesis32 HMI  softverskom paketu kao OPC DA klijentu i razvijenom OPC  XML DA serveru,  rezidentnim na različitim nodovima Internet mreže, treba demonstrirati mogućnosti i pouzdanost u radu razvijenog OPC XML DA servera.

Abstract

Modern  supervisory monitoring and control systems  for complex  production/business   management are including, beside  SCADA/HMI system for process management and control in real-time, also systems  aimed at  planning, organization and follow-up of production execution of  manufacturing process as MES, MIS, ERP and so forth.

Frequently, in these multilayer distributed systems there is the need to interconnect and enable data exchange between applications that are DDE conversant as is Microsoft Excel and majority of HMI software packages.

DDE data exchange is possible in distributed architecture using MS NETDDE protocol which is rather complicated to setup and is only possible within homogeneous local network using ddeshare and trusted domains.

The candidate has, within his diploma thesis, to develop, implement and test driver that shall enable data exchange and messages between DDE enabled applications in network environment using TCP/IP protocol as transport vehicle in-between.

Diploma thesis has to implement DDE data exchange over the heterogeneous networks with dynamically configurable data tags (items), as far as the number and data types of these tags are concerned.

For the completion, one test application has to be developed based on Indusoft HMI software suite and MS Excel to demonstrate the capabilities and reliability of the developed driver.